## Vocabulary
Term | Abbreviation | Definition | Theme1 | Theme2 | Theme3 | Theme4 | Theme5 | Comments
401(a) Certification |  | A requirement of Section 401(a) of the Clean Water Act that all federally issued permits be certified by the State in which the discharge occurs. The State certifies that the proposed permit will comply with State water quality standards and other State requirements. | Legal and Regulatory | Water Quality
Acute |  | A stimulus severe enough to rapidly induce an effect; in aquatic toxicity tests, an effect observed in 96 hours or less is typically considered acute. When referring to aquatic toxicology or human health, an acute effect is not always measured in terms of lethality. | Water Quality
Anti-backsliding |  | A provision in the Federal Regulations [CWA §303(d)(4); CWA §402(c); CFR §122.44(l)] that requires a reissued permit to be as stringent as the previous permit with some exceptions. | Legal and Regulatory
Antidegradation |  | Policies which ensure protection of water quality for a particular water body where the water quality exceeds levels necessary to protect fish and wildlife propagation and recreation on and in the water. This also includes special protection of waters designated as outstanding natural resource waters. Antidegradation plans are adopted by each State to minimize adverse effects on water. | Legal and Regulatory | Water Quality
Authorized Program or Authorized State |  | A State, Territorial, Tribal, or interstate NPDES program which has been approved or authorized by EPA under 40 CFR Part 123. | Legal and Regulatory
Average Monthly Discharge Limitations |  | The highest allowable average of daily discharges over a calendar month, calculated as the sum of all daily discharges measured during that month divided by the number of days on which monitoring was performed (except in the case of fecal coliform). | Legal and Regulatory | Water Quality | Data
Average Weekly Discharge Limitation |  | The highest allowable average of daily discharges over a calendar week, calculated as the sum of all daily discharges measured during a calendar week divided by the number of daily discharges measured during that week. | Legal and Regulatory | Water Quality | Data
Best Available Technology Economically Achievable | BAT | Technology-based standard established by the Clean Water Act (CWA) as the most appropriate means available on a national basis for controlling the direct discharge of toxic and nonconventional pollutants to navigable waters. BAT effluent limitations guidelines, in general, represent the best existing performance of treatment technologies that are economically achievable within an industrial point source category or subcategory. | Water Quality | Legal and Regulatory | Utilities
Best Conventional Pollutant Control Technology | BCT | Technology- based standard for the discharge from existing industrial point sources of conventional pollutants including BOD, TSS, fecal coliform, pH, oil and grease. The BCT is established in light of a two-part “cost reasonableness” test which compares the cost for an industry to reduce its pollutant discharge with the cost to a POTW for similar levels of reduction of a pollutant loading. The second test examines the cost-effectiveness of additional industrial treatment beyond BPT. EPA must find limits which are reasonable under both tests before establishing them as BCT. | Water Quality | Legal and Regulatory | Utilities
Best Management Practice | BMP | Permit condition used in place of or in conjunction with effluent limitations to prevent or control the discharge of pollutants. May include schedule of activities, prohibition of practices, maintenance procedure, or other management practice. BMPs may include, but are not limited to, treatment requirements, operating procedures, or practices to control plant site runoff, spillage, leaks, sludge or waste disposal, or drainage from raw material storage. | Legal and Regulatory | Utilities
Best Practicable Control Technology Currently Available | BPT | The first level of technology-based standards established by the CWA to control pollutants discharged to waters of the U.S. BPT effluent limitations guidelines are generally based on the average of the best existing performance by plants within an industrial category or subcategory. | Legal and Regulatory | Utilities
Best Professional Judgment | BPJ | The method used by permit writers to develop technology-based NPDES permit conditions on a case-by-case basis using all reasonably available and relevant data. | Legal and Regulatory
Bioassay |  | A test used to evaluate the relative potency of a chemical or a mixture of chemicals by comparing its effect on a living organism with the effect of a standard preparation on the same type of organism. | Environment and Ecology | Water Quality | Data
Biochemical Oxygen Demand | BOD | A measurement of the amount of oxygen utilized by the decomposition of organic material, over a specified time period (usually 5 days) in a wastewater sample; it is used as a measurement of the readily decomposable organic content of a wastewater. | Water Quality | Data | Utilities
Bypass |  | The intentional diversion of wastestreams from any portion of a treatment (or pretreatment) facility. | Infrastructure | Utilities
Categorical Industrial User | CIU | An industrial user subject to National categorical pretreatment standards. | Legal and Regulatory
Categorical Pretreatment Standards |  | Limitations on pollutant discharges to publicly owned treatment works promulgated by EPA in accordance with Section 307 of the Clean Water Act that apply to specified process wastewaters of particular industrial categories [40 CFR §403.6 and Parts 405-471]. | Legal and Regulatory | Utilities
Chemical Oxygen Demand | COD | A measure of the oxygen-consuming capacity of inorganic and organic matter present in wastewater. COD is expressed as the amount of oxygen consumed in mg/l. Results do not necessarily correlate to the biochemical oxygen demand (BOD) because the chemical oxidant may react with substances that bacteria do not stabilize. | Water Quality | Data
Chronic |  | A stimulus that lingers or continues for a relatively long period of time, often one-tenth of the life span or more. Chronic should be considered a relative term depending on the life span of an organism. The measurement of a chronic effect can be reduced growth, reduced reproduction, etc., in addition to lethality. | Water Quality
Clean Water Act | CWA | The Clean Water Act is an act passed by the U.S. Congress to control water pollution. It was formerly referred to as the Federal Water Pollution Control Act of 1972 or Federal Water Pollution Control Act Amendments of 1972 (Public Law 92-500), 33 U.S.C. 1251 et. seq., as amended by: Public Law 96-483; Public Law 97-117; Public Laws 95-217, 97-117, 97-440, and 100-04. | Legal and Regulatory | Water Quality
Code of Federal Regulations | CFR | A codification of the final rules published daily in the Federal Register. Title 40 of the CFR contains the environmental regulations. | Legal and Regulatory
Combined Sewer Overflow | CSO | A discharge of untreated wastewater from a combined sewer system at a point prior to the headworks of a publicly owned treatment works. CSOs generally occur during wet weather (rainfall or snowmelt). During periods of wet weather, these systems become overloaded, bypass treatment works, and discharge directly to receiving waters. | Infrastructure | Utilities | Water Quality
Combined Sewer System | CSS | A wastewater collection system which conveys sanitary wastewaters (domestic, commercial and industrial wastewaters) and storm water through a single pipe to a publicly owned treatment works for treatment prior to discharge to surface waters. | Infrastructure | Utilities | Water Quality
Compliance Schedule |  | A schedule of remedial measures included in a permit or an enforcement order, including a sequence of interim requirements (for example, actions, operations, or milestone events) that lead to compliance with the CWA and regulations. | Legal and Regulatory
Composite Sample |  | Sample composed of two or more discrete samples. The aggregate sample will reflect the average water quality covering the compositing or sample period. | Water Quality | Data
Conventional Pollutants |  | Pollutants typical of municipal sewage, and for which municipal secondary treatment plants are typically designed; defined by Federal Regulation [40 CFR §401.16] as BOD, TSS, fecal coliform bacteria, oil and grease, and pH. | Water Quality | Legal and Regulatory | Utilities
Criteria |  | The numeric values and the narrative standards that represent contaminant concentrations that are not to be exceeded in the receiving environmental media (surface water, ground water, sediment) to protect beneficial uses. | Legal and Regulatory
Daily Discharge |  | The discharge of a pollutant measured during any 24- hour period that reasonably represents a calendar day for purposes of sampling. For pollutants with limitations expressed in units of mass, the daily discharge is calculated as the total mass of the pollutant discharged during the day. For pollutants with limitations expressed in other units of measurement (e.g., concentration) the daily discharge is calculated as the average measurement of the pollutant throughout the day (40 CFR §122.2). | Data
Daily Maximum Limit |  | The maximum allowable discharge of pollutant during a calendar day. Where daily maximum limitations are expressed in units of mass, the daily discharge is the total mass discharged over the course of the day. Where daily maximum limitations are expressed in terms of a concentration, the daily discharge is the arithmetic average measurement of the pollutant concentration derived from all measurements taken that day. | Data | Legal and Regulatory
Development Document |  | A report prepared during the development of an effluent limitation guideline by EPA that provides the data and methodology used to develop limitations guidelines and categorical pretreatment standards for an industrial category. | Legal and Regulatory
Director |  | The Regional Administrator or State Director, as the context requires, or an authorized representative. When there is no approved State program, and there is an EPA administered program, Director means the Regional Administrator. When there is an approved State program, “Director” normally means the State Director. | Legal and Regulatory
Discharge Monitoring Report | DMR | The form used (including any subsequent additions, revisions, or modifications) to report self-monitoring results by NPDES permittees. DMRs must be used by approved States as well as by EPA. | Legal and Regulatory | Data
Draft Permit |  | A document prepared under 40 CFR §124.6 indicating the Director’s tentative decision to issue, deny, modify, revoke and reissue, terminate, or reissue a permit. A notice of intent to terminate a permit, and a notice of intent to deny a permit application, as discussed in 40 CFR §124.5, are considered draft permits. A denial of a request for modification, revocation and reissuance, or termination, as discussed in 40 CFR §124.5, is not a draft permit. | Legal and Regulatory
Effluent Limitation |  | Any restriction imposed by the Director on quantities, discharge rates, and concentrations of pollutants which are discharged from point sources into waters of the United States, the waters of the contiguous zone, or the ocean. | Legal and Regulatory | Water Quality | Utilities
Effluent Limitations Guidelines | ELG | A regulation published by the Administrator under Section 304(b) of CWA that establishes national technology-based effluent requirements for a specific industrial category. | Legal and Regulatory | Water Quality
Fact Sheet |  | A document that must be prepared for all draft individual permits for NPDES major dischargers, NPDES general permits, NPDES permits that contain variances, NPDES permits that contain sewage sludge land application plans and several other classes of permittees. The document summarizes the principal facts and the significant factual, legal, methodological and policy questions considered in preparing the draft permit and tells how the public may comment (40 CFR §124.8 and §124.56). Where a fact sheet is not required, a statement of basis must be prepared (40 CFR §124.7). | Legal and Regulatory | Water Quality
Fundamentally Different Factors | FDF | Those components of a petitioner’s facility that are determined to be so unlike those components considered by EPA during the effluent limitation guideline and pretreatment standards rulemaking that the facility is worthy of a variance from the effluent limitations guidelines or categorical pretreatment standards. | Data
General Permit |  | An NPDES permit issued under 40 CFR §122.28 that authorizes a category of discharges under the CWA within a geographical area. A general permit is not specifically tailored for an individual discharger. | Legal and Regulatory
Grab Sample |  | A sample which is taken from a wastestream on a one-time basis without consideration of the flow rate of the wastestream and without consideration of time. | Data
Hazardous Substance |  | Any substance, other than oil, which, when discharged in any quantities into waters of the U.S., presents an imminent and substantial danger to the public health or welfare, including but not limited to fish, shellfish, wildlife, shorelines and beaches (Section 311 of the CWA); identified by EPA as the pollutants listed under 40 CFR Part 116. | Water Quality | Environment and Ecology | Data
Indirect Discharge |  | The introduction of pollutants into a municipal sewage treatment system from any nondomestic source (i.e., any industrial or commercial facility) regulated under Section 307(b), (c), or (d) of the CWA. | Water Quality
Instantaneous Maximum Limit |  | The maximum allowable concentration of a pollutant determined from the analysis of any discrete or composite sample collected, independent of the flow rate and the duration of the sampling event. | Water Quality | Data
Local Limits |  | Conditional discharge limits imposed by municipalities upon industrial or commercial facilities that discharge to the municipal sewage treatment system. | Legal and Regulatory | Water Quality
Major Facility |  | Any NPDES facility or activity classified as such by the Regional Administrator, or in the case of approved State programs, the Regional Administrator in conjunction with the State Director. Major municipal dischargers include all facilities with design flows of greater than one million gallons per day and facilities with EPA/State approved industrial pretreatment programs. Major industrial facilities are determined based on specific ratings criteria developed by EPA/State. | Infrastructure
Mass-Based Standard |  | A discharge limit that is measured in a mass unit such as pounds per day. | Data
Method Detection Limit | MDL | Defined as the minimum concentration of a substance that can be measured and reported with 99 percent confidence that the analyte concentration is greater than zero and is determined from analysis of a sample in a given matrix containing the analyte. | Data | Water Quality
Million Gallons per Day | mgd | A unit of flow commonly used for wastewater discharges. One mgd is equivalent to 1.547 cubic feet per second. | Data
Mixing Zone |  | An area where an effluent discharge undergoes initial dilution and is extended to cover the secondary mixing in the ambient water body. A mixing zone is an allocated impact zone where water quality criteria can be exceeded as long as acutely toxic conditions are prevented. | Hydrology | Water Quality
Municipal Separate Storm Sewer System | MS4 | A conveyance or system of conveyances (including roads with drainage systems, municipal streets, catch basins, curbs, gutters, ditches, manmade channels, or storm drains) owned by a State, city, town or other public body, that is designed or used for collecting or conveying storm water, which is not a combined sewer, and which is not part of a publicly owned treatment works. Commonly referred to as an “MS4” [40 CFR §122.26(b)(8)]. | Infrastructure | Utilities
National Pollutant Discharge Elimination System | NPDES | The national program for issuing, modifying, revoking and reissuing, terminating, monitoring and enforcing permits, and imposing and enforcing pretreatment requirements, under Sections 307, 318, 402, and 405 of CWA. | Legal and Regulatory
National Pretreatment Standard or Pretreatment Standard |  | Any regulation promulgated by the EPA in accordance with Sections 307(b) and (c) of the CWA that applies to a specific category of industrial users and provides limitations on the introduction of pollutants into publicly owned treatment works. This term includes the prohibited discharge standards under 40 CFR §403.5, including local limits [40 CFR §403.3(j)]. | Legal and Regulatory | Water Quality
New Discharger |  | Any building, structure, facility, or installation: From which there is or may be a discharge of pollutants; That did not commence the discharge of pollutants at that particular site prior to August 13, 1979; Which is not a new source; and Which has never received a finally effective NPDES permit for discharges at that site. | Infrastructure | Water Quality
New Source |  | Any building, structure, facility, or installation from which there is or may be a discharge of pollutants, the construction of which commenced: a. After promulgation of standards of performance under Section 306 of the CWA which are applicable to such source; or After proposal of standards of performance in accordance with Section 306 of the CWA which are applicable to such source, but only if the standards are promulgated in accordance with Section 306 of the CWA within 120 days of their proposal. Except as otherwise provided in an applicable new source performance standard, a source is a new source if it meets the definition in 40 CFR §122.2; and It is constructed at a site at which no other source is located; or It totally replaces the process or production equipment that causes the discharge of pollutants at an existing source; or Its processes are substantially independent of an existing source at the same site. In determining whether these processes are substantially independent, the Director shall consider such factors as the extent to which the new facility is integrated with the existing plant; and the extent to which the new facility is engaged in the same general type of activity as the existing source. | Infrastructure | Water Quality
New Source Performance Standards | NSPS | Technology-based standards for facilities that qualify as new sources under 40 CFR §122.2 and 40 CFR §122.29. Standards consider that the new source facility has an opportunity to design operations to more effectively control pollutant discharges. | Legal and Regulatory | Water Quality
Nonconventional Pollutants |  | All pollutants that are not included in the list of conventional or toxic pollutants in 40 CFR Part 401. Includes pollutants such as chemical oxygen demand (COD), total organic carbon (TOC), nitrogen, and phosphorus. | Data
pH |  | A measure of the hydrogen ion concentration of water or wastewater; expressed as the negative log of the hydrogen ion concentration in mg/l. A pH of 7 is neutral. A pH less than 7 is acidic, and a pH greater than 7 is basic. | Data | Water Quality
Point Source |  | Any discernible, confined, and discrete conveyance, including but not limited to any pipe, ditch, channel, tunnel, conduit, well, discrete fixture, container, rolling stock, concentrated animal feeding operation, landfill leachate collection system, vessel, or other floating craft from which pollutants are or may be discharged. | Infrastructure
Pollutant |  | Dredged spoil, solid waste, incinerator residue, filter backwash, sewage, garbage, sewage sludge, munitions, chemical wastes, biological materials, radioactive materials (except those regulated under the Atomic Energy Act of 1954, as amended (42 U.S.C. 2011 et seq.)), heat, wrecked or discarded equipment, rock, sand, cellar dirt and industrial, municipal, and agricultural waste discharged into water. | Data
Pollutant, Conservative |  | Pollutants that do not readily degrade in the environment, and which are mitigated primarily by natural stream dilution after entering receiving bodies of waters. Included are pollutants such as metals. | Data
Pollutant, Non-Conservative |  | Pollutants that are mitigated by natural biodegradation or other environmental decay or removal processes in the receiving stream after in-stream mixing and dilution have occurred. | Data
Practical Quantification Limit | PQL | The lowest level that can be reliably achieved within specified limits of precision and accuracy during routine laboratory operating conditions. | Data | Utilities
Pretreatment |  | The reduction of the amount of pollutants, the elimination of pollutants, or the alteration of the nature of pollutant properties in wastewater prior to or in lieu of discharging or otherwise introducing such pollutants into a publicly owned treatment works [40 CFR §403.3(q)]. | Water Quality | Utilities
Primary Industry Categories |  | Any industry category listed in the Natural Resources Defense Council (NRDC) settlement agreement [(NRDC et al. v. Train, 8 E.R.C. 2120 (D.D.C. 1976), modified 12 E.R.C. 1833 (D.D.C. 1979)] for which EPA has or will develop effluent guidelines; also listed in Appendix A of 40 CFR Part 122. | Data
Primary Treatment |  | The practice of removing some portion of the suspended solids and organic matter in a wastewater through sedimentation. Common usage of this term also includes preliminary treatment to remove wastewater constituents that may cause maintenance or operational problems in the system (i.e., grit removal, screening for rags and debris, oil and grease removal, etc.). | Utilities | Water Quality
Priority Pollutants |  | Those pollutants considered to be of principal importance for control under the CWA based on the NRDC consent decree settlement [(NRDC et al. v. Train, 8 E.R.C. 2120 (D.D.C. 1976), modified 12 E.R.C. 1833 (D.D.C. 1979)]; a list of these pollutants is provided as Appendix A to 40 CFR Part 423. | Water Quality | Data
Process Wastewater |  | Any water which, during manufacturing or processing, comes into direct contact with, or results from the production or use of any raw material, intermediate product, finished product, byproduct, or waste product. | Utilities | Water Quality
Production-Based Standard |  | A discharge standard expressed in terms of pollutant mass allowed in a discharge per unit of product manufactured. | Data
Proposed Permit |  | A State NPDES permit prepared after the close of the public comment period (and when applicable, any public hearing and administrative appeals) which is sent to EPA for review before final issuance by the State. | Legal and Regulatory
Publicly Owned Treatment Works | POTW | A treatment works, as defined by Section 212 of the CWA, that is owned by the State or municipality. This definition includes any devices and systems used in the storage, treatment, recycling, and reclamation of municipal sewage or industrial wastes of a liquid nature. It also includes sewers, pipes, and other conveyances only if they convey wastewater to a POTW treatment plant [40 CFR §403.3]. | Utilities | Water Quality
Sanitary Sewer |  | A pipe or conduit (sewer) intended to carry wastewater or water-borne wastes from homes, businesses, and industries to the POTW. | Infrastructure | Utilities
Sanitary Sewer Overflows | SSO | Untreated or partially treated sewage overflows from a sanitary sewer collection system. | Infrastructure | Utilities
Secondary Industry Category |  | Any industry category which is not a primary industry category. | Data
Secondary Treatment |  | Technology-based requirements for direct discharging municipal sewage treatment facilities. Standard is based on a combination of physical and biological processes typical for the treatment of pollutants in municipal sewage. Standards are expressed as a minimum level of effluent quality in terms of: BOD5, suspended solids (SS), and pH (except as provided for special considerations and treatment equivalent to secondary treatment). | Utilities | Water Quality
Self-Monitoring |  | Sampling and analyses performed by a facility to determine compliance with a permit or other regulatory requirements. | Data | Legal and Regulatory
Spill Prevention Control and Countermeasure Plan | SPCC | A plan prepared by a facility to minimize the likelihood of a spill and to expedite control and cleanup activities should a spill occur. | Legal and Regulatory
Significant Industrial User | SIU | An indirect discharger that is the focus of control efforts under the national pretreatment program; includes all indirect dischargers subject to national categorical pretreatment standards, and all other indirect dischargers that contribute 25,000 gpd or more of process wastewater, or which make up five percent or more of the hydraulic or organic loading to the municipal treatment plant, subject to certain exceptions [40 CFR §403.3(t)]. | Legal and Regulatory
Standard Industrial Classification Code | SIC | A code number system used to identify various types of industries. The code numbers are published by the Superintendent of Documents, U.S. Government Printing Office, Washington, D.C. 20402. A particular industry may have more than one SIC code if it conducts several types of commercial or manufacturing activities onsite. | Data
Statement of Basis |  | A document prepared for every draft NPDES permit for which a fact sheet is not required. A statement of basis briefly describes how permit conditions were derived and the reasons the conditions are necessary for the permit [40 CFR §124.7]. | Legal and Regulatory
STORET |  | EPA’s computerized STOrage and RETrieval water quality data base that includes physical, chemical, and biological data measured in waterbodies throughout the United States. | Data | Water Quality
Storm Water |  | Storm water runoff, snow melt runoff, and surface runoff and drainage [40 CFR §122.26(b)(13)]. | Hydrology
Technology-Based Effluent Limit |  | A permit limit for a pollutant that is based on the capability of a treatment method to reduce the pollutant to a certain concentration. | Legal and Regulatory | Water Quality | Utilities
Tiered Permit Limits |  | Permit limits that only apply to the discharge when a certain threshold (e.g., production level), specific circumstance (e.g., batch discharge), or timeframe (e.g., after 6 months) triggers their use. | Legal and Regulatory
Tiered Testing |  | Any of a series of tests that are conducted as a result of a previous test’s findings. | Data
Total Maximum Daily Load | TMDL | The amount of pollutant, or property of a pollutant, from point, nonpoint, and natural background sources, that may be discharged to a water quality-limited receiving water. Any pollutant loading above the TMDL results in violation of applicable water quality standards. | Data | Water Quality
Total Organic Carbon | TOC | Measures the amount of organic carbon in water. | Data | Water Quality
Total Suspended Solids | TSS | A measure of the filterable solids present in a sample, as determined by the method specified in 40 CFR Part 136. | Data | Water Quality
Toxic Pollutant |  | Pollutants or combinations of pollutants, including disease-causing agents, which after discharge and upon exposure, ingestion, inhalation or assimilation into any organism, either directly from the environment or indirectly by ingestion through food chains, will, on the basis of information available to the Administrator of EPA, cause death, disease, behavioral abnormalities, cancer, genetic mutations, physiological malfunctions, (including malfunctions in reproduction) or physical deformations, in such organisms or their offspring. Toxic pollutants also include those pollutants listed by the Administrator under CWA Section 307(a)(1) or any pollutant listed under Section 405(d) which relates to sludge management. | Data | Environment and Ecology | Water Quality
Toxicity Reduction Evaluation | TRE | A site-specific study conducted in a stepwise process designed to identify the causative agent(s) of effluent toxicity, isolate the sources of toxicity, evaluate the effectiveness of toxicity control options, and then confirm the reduction in effluent toxicity. | Legal and Regulatory | Data
Toxicity Test |  | A procedure to determine the toxicity of a chemical or an effluent using living organisms. A toxicity test measures the degree of effect on exposed test organisms of a specific chemical or effluent. | Data
Treatability Manual |  | Five-set library of EPA guidance manuals that contain information related to the treatability of many pollutants. This manual can be used in developing NPDES permit limitations for facilities and/or pollutants which, at the time of permit issuance, are not subject to industry-specific effluent guidelines. The five volumes that comprise this series include: Vol. I - Treatability Data (EPA-600/8-80-042a); Vol. II - Industrial Descriptions (EPA-600/8-80-042b); Vol. III - Technologies (EPA-600/8-80-042c); Vol. IV - Cost Estimating (EPA-600/8-80-042d); Vol. V - Summary (EPA-600/8-80-042e). | Legal and Regulatory
TSD |  | Abbreviation for the Technical Support Document Water Quality- based Toxics Control (EPA-505/2-90-001), EPA Office of Water Enforcement and Permits, 1991. It contains procedures for water quality- based limitation development. | Legal and Regulatory | Water Quality
TWTDS |  | Abbreviation for Treatment Works Treating Domestic Sewage. Includes all POTWs and other facilities that treat domestic wastewater, and facilities that do not treat domestic wastewater, but that treat or dispose of sewage sludge. | Utilities | Infrastructure
Upset |  | An exceptional incident in which there is unintentional and temporary noncompliance with the permit limit because of factors beyond | Data
Variance |  | Any mechanism or provision under Sections 301 or 316 of the CWA or under 40 CFR Part 125, or in the applicable “effluent limitations guidelines” which allows modification to or waiver of the generally applicable effluent limitations requirements or time deadlines of the CWA. This includes provisions which allow the establishment of alternative limitations based on fundamentally different factors. | Legal and Regulatory
Wastesload Allocation | WLA | The proportion of a receiving water’s total maximum daily load that is allocated to one of its existing or future point sources of pollution. | Data | Utilities
Water Quality-Based Effluent Limit | WQBEL | A value determined by selecting the most stringent of the effluent limits calculated using all applicable water quality criteria (e.g., aquatic life, human health, and wildlife) for a specific point source to a specific receiving water for a given pollutant. | Data | Utilities
Water Quality Criteria |  | Comprised of numeric and narrative criteria. Numeric criteria are scientifically derived ambient concentrations developed by EPA or States for various pollutants of concern to protect human health and aquatic life. Narrative criteria are statements that describe the desired water quality goal. | Data | Water Quality | Utilities
Water Quality Standard | WQS | A law or regulation that consists of the beneficial use or uses of a waterbody, the numeric and narrative water quality criteria that are necessary to protect the use or uses of that particular waterbody, and an antidegradation statement. | Data | Water Quality | Utilities
Waters of the United States |  | All waters that are currently used, were used in the past, or may be susceptible to use in interstate or foreign commerce, including all waters subject to the ebb and flow of the tide. Waters of the United States include but are not limited to all interstate waters and intrastate lakes, rivers, streams (including intermittent streams), mudflats, sand flats, wetlands, sloughs, prairie potholes, wet meadows, play lakes, or natural ponds. [See 40 CFR §122.2 for the complete definition.] | Legal and Regulatory | Hydrology
Whole Effluent Toxicity | WET | The total toxic effect of an effluent measured directly with a toxicity test. | Data | Water Quality

## Vocabulary Metadata
Publishing Agency | Publishing Agency URI | Vocabulary Name | Vocabulary URI | Description | URL | Themes | ThemeDef
Alaska Department of Environmental Conservation | ak-dec | EPA's CWA Alaska Application glossary | ak-cwa_g | A glossary for how terms from the EPA's Clean Water Act apply to Alaska | https://dec.alaska.gov/media/11575/epa-cwa-glossary-of-terms.pdf | Data | Terms about specific parameters, units, and data production and dissemination
[6 empty] | Water Use | Terms about water that is withdrawn for a specific purpose, including end uses and rights/allocations
[6 empty] | Hydrology | Terms about the properties, distribution and circulation of water and snow in the natural system
[6 empty] | Legal and Regulatory | Terms about laws and regulations governing water, including quantity, quality, use, rights, and planning
[6 empty] | Water Quality | Terms about drinking or environmental water chemical, physical, and biological characteristics, their measurement and management
[6 empty] | Environment and Ecology | Terms about conditions and influences affecting the life and development of organisms and relationships between organisms
[6 empty] | Infrastructure | Terms about the built environment
[6 empty] | Utilities | Terms about entities providing drinking water, wastewater removal, and stormwater management services and the regulation thereof